# Asbestos cement roof checklist

[Your company name]   ·   ASB-AC · Rev A

| Check | Yes / No / N/A | Notes |
| --- | --- | --- |
| Sheet sample tested by a UKAS-accredited lab |  |  |
| Condition recorded (sound, weathered, cracked, broken) |  |  |
| Nobody to walk on the roof; access planned from below or a platform |  |  |
| Decision recorded: leave, seal, over-roof or remove |  |  |
| Removal by trained contractor following HSE task sheet A14 |  |  |
| Sheets removed whole and kept damp; no breaking or dropping |  |  |
| Disposal site or council arrangement confirmed before starting |  |  |
| Waste double-wrapped in heavy polythene and labelled |  |  |

Template from Trade Safety Docs (tradesafetydocs.co.uk). General guidance only: adapt it to your job and site before use.