# Hot works permit

[Your company name]   ·   HWP-001 · Rev A

| Permit number |  |
| --- | --- |
| Site and exact location of work |  |
| Description of hot work |  |
| Equipment used |  |
| Valid from (date/time) |  |
| Valid until (date/time) |  |
| Issued by (name, signature) |  |
| Accepted by operative (name, signature) |  |

## Pre-work checks

| Check | Yes / No / N/A | Notes |
| --- | --- | --- |
| Combustibles removed to 10 m or protected |  |  |
| Floors swept; openings and gaps covered |  |  |
| Walls, ceilings and voids checked for combustible materials |  |  |
| Suitable fire extinguisher at the work point |  |  |
| Fire alarm arrangements agreed and recorded |  |  |
| Fire watch person named |  |  |

## After work

| Work finished at (time) |  |
| --- | --- |
| Fire watch completed until (time) |  |
| Area checked and safe (name, signature) |  |
| Permit closed (name, signature, time) |  |

Template from Trade Safety Docs (tradesafetydocs.co.uk). General guidance only: adapt it to your job and site before use.